## Slide 1: Variational methods for model-based image segmentation Applications in medical imaging
Raphael Prevost
Ph.D. Defense
21st October 2013
Medisys, Philips Research
CEREMADE, Paris Dauphine/CNRS

## Slide 2: Joint work Industry/Academia
Paris Dauphine University Ceremade
Laurent D. Cohen
Paris
Philips Research Medisys
Roberto Ardon
Benoit Mory
Remi Cuingnet
Introduction
Notes: First of all, Would like to mention that this is a joint work between industry with Philips Research and academia with the Ceremade

## Slide 3: Medical images analysis – two main challenges
Segmentation
algorithm
Registration
algorithm
Introduction
Notes: My work deals with medical imaging
Going to talk about two main problems of medical image analysis
First one segmentation, which consists in extracting the shape of an organ of interest from an image
Second one registration, which takes two images and tries to find the geometric transformation such that the two images are aligned afterwards
We will see that the two problems can be linked but we mainly focus on segmentation here

## Slide 4: Clinical applications to be addressed
Kidney (3D, 3D+t)
Myocardium in short-axis (2D)
Myocardium in long-axis (2D)
MRI
Ultrasound
Contrast CT
Conventional/Contrast Ultrasound
Introduction
Notes: To be more specific, the two main clinical applications addressed in this talk will be the segmentation of kidneys from 3D images
And the segmentation of 2D myocardium from 2D images, both in short axis and long axis
Interested in organs rather than blood vessels or tumours for example

## Slide 5: Use of segmentations in medical applications
Patient-based simulations
Augmented reality for surgery
Statistical analysis
Diagnosis
Volume 150 mL
Introduction
Notes: Whatever the organ, there are a lot of clinical applications for segmentation algorithms
- With the segmentation of an organ, you can extract information (such as its volume) that might be useful for diagnosis
- More generally, you can perform statistical analysis on a whole population to find trends or understand better some diseases
- Another very interesting field of application is patient-specific simulations which allow for example clinicians to simulate and test the effect of a treatment
- Finally, surgeons can also use segmentation during an operation via augmented reality systems

## Slide 6: Challenges of organ segmentation
Increasing volume of data (3D, 3D+t)  Need for efficient algorithms
Variable image quality (noise, artifacts)  Need for robust algorithms
Re-usability  Need for generic approaches
For a given organ, shape may vary but topology is often fixed
 Need for topology control
Introduction
Notes: Unfortunately, there are a number of reasons for which segmentation of medical images is challenging
- Due to the increasing volume of data (we are dealing here with 3d or 3d+t datasets), we need efficient algorithm
Because of the sometimes poor image quality, we need robust algorithms
We also want a generic algorithm that could be applied to different organs
Finally, we would like to be able to enforce the topology of the segmentation (because organs usually have a fixed topology)

## Slide 7: Segmentation via a hybrid method
Atlas
deformation [Commowick et al., 2007]
Level-set
segmentation [Chan & Vese, 2001]
Robustness
Topology control
Genericity
Efficiency
Implicit Template Deformation [Mory et al., 2012]
Original image
Implicit function
Template
Segmentation
This thesis
Introduction
Notes: My thesis revolves around a hybrid algorithm between two approaches that partially meet these requirements
Implicit template deformation, which was developped in Philips, is inbetween and tries to combine those different advantages

## Slide 8: Outline of the presentation
Part 1 - What is implicit template deformation ?
Part 2 - Application to challenging clinical problems
Part 3 - Exploiting different images of the patient
Part 4 - Learning information on shape and appearance from large databases
“Errors using inadequate data are much less than those using no data at all.” Charles Babbage

## Slide 9: Part 1 Implicit Template Deformation Background and contributions
Shape
prior
Template
Part 2 - Applying the algorithm to challenging clinical problems
Part 3 - Exploiting different images of the patient
Part 4 - Exploiting information learnt from large databases

## Slide 10: How to model the problem ?
Advantages
Consistent for 2D or 3D shapes
Can efficiently represent multiple objects
No explicit parametrization required
Implicit function
Part 1/4 – Implicit template deformation: background and contributions
Notes: So how do we model the problem of finding this yellow shape ?
In this work, we represent shapes via implicit functions
Implicit functions are functions defined on the whole space, that are positive inside the represented shape and negative outside; the shape boundary is therefore its zero-level set
This representation has several advantages (we can use it in 2d or 3D and it can efficiently represent multiple objects)
So do we find the best implicit function phi ?

## Slide 11: Segmentation via variational methods
Time
Energy
Find the segmentation in the image as
the minimum of an “energy”
Minimization by gradient descent on
Initialization
Part 1/4 – Implicit template deformation: background and contributions
Notes: We define an energy E that depends on the image and say that the best segmentation phi* should be a minimum of this energy
To find it, we use a gradient descent approach
Start with an initialization (which is an input of the algorithm)
Let the function evolve such that it minimizes the energy in time, until we have reached a minimum point
Obviously, everything relies on the choice of the energy and the space of possible implicit functions

## Slide 12: Image-based energy
Implicit region competition [Chan & Vese, 2001]
Regularization term
Original image
Image-based error
Sum of the pointwise errors inside the segmentation
Desired function
Part 1/4 – Implicit template deformation: background and contributions
Notes: We use a region competition energy
We define at each pixel of the orginal image I an error and call this new image r_I
Phi is then found as a trade-off between having as few black pixels of r_I inside
Since r_I can be noisy or corrupted, another term enforces some regularization on phi

## Slide 13: Implicit Template Deformation
Shape
prior
Implicit function = Deformation of an implicit template [Huang et al., 2004]
Segmentation ≈ Template
Topology preservation
has a low magnitude
is a diffeomorphism
Template
Part 1/4 – Implicit template deformation: background and contributions
Notes: But key idea of template deformation is that we do not seek any function phi
If we know that is should look like a star, we can restrict phi to be a deformed version of an initial implicit function phi_0
So phi = phi_0 of psi and transformation psi becomes the unknown of the problem
Phi_0, that we call the template, acts as a shape prior if psi meets some conditions
Blabla
Those conditions are enforced with the help of the regularization term R(psi)

## Slide 14: Implicit Template Deformation formulation
Penalizes magnitude and irregularities of the deformation (pose-invariant)
Free-Form deformation
Similarity
transformation
Decomposition into a pose and a deformation [Mory et al., 2012]
(pose)
Part 1/4 – Implicit template deformation: background and contributions
Notes: In order to define this regularization term, psi is decomposed into two transformations
The first one, called G is the pose of the template within the image (just its location, scale and orientation); so it is represented by a similiarity transformation
The second transformation, L, is a free form deformation that does change the shape of the implicit function; it is defined via a displacement field u
Both transformations are optimized simultaneously but the interest of the decomposition is the possibility to define R as a function of L and therefore invariant to the pose
This term is a particular norm on the displacement field u, that is defined with a Gaussian kernel and penalizes both its magnitude and irregularities

## Slide 15: Numerical implementation
Octree implicit function
Diffusion by
linear filtering
Sparse contributions
Gradient descent equations
Very efficient algorithm (a few seconds in 3D)
Part 1/4 – Implicit template deformation: background and contributions
Notes: With this model, the gradient equations can be computed efficiently
These Diracs show that we need to perform computations only at the boundary of the current segmentation
Such points can be found quickly with an octree implementation of the implicit function
Finally, forces are diffused everywhere with the Gaussian convolution that is also performed efficiently
In the end, the algorithm is very efficient, ie a few seconds in 3D

## Slide 16: Incorporating user interactions
Benefit of the implicit formulation interactions = inequality constraints [Mory et al., 2012]
Point clicked by the user
+1/-1 for inside/outside points
Initialization
Incorrect segmentation  user interactions
Constrained
segmentation
Part 1/4 – Implicit template deformation: background and contributions
Notes: But the other great thing about this approach is the ability to take into account user interactions
Imagine you want to segment this image; even if the algorithm fails, you can help him by clicking on points that should be inside the segmentation
Mathematically speaking, you just have to add some constraints on the sign of the implicit function
When you solve the constrained optimization, you obtain a better segmentation

## Slide 17: Contributions around the algorithm
Implicit Template Deformation
Initialization
Other images of the patient
Learning from a database
User
interactions
Incorporate additional info without losing the advantages:
efficiency, topology control and compatibility with user interactions
Image-based error
Part 1/4 – Implicit template deformation: background and contributions
Notes: So ITD appears as a very interesting framework for segmentation, which is why it was at the center of my work
No matter how sophisticated your algorithm is, at the end, the most important thing is what information you give it
General line of thought: feed as much information as possible
Init (non convex)

## Slide 18: Part 2 Application to challenging clinical problems Kidney segmentation in ultrasound images
Contrast-Enhanced Ultrasound (CEUS)
Conventional Ultrasound (US)
Part 3 - Exploiting different images of the patient
Part 4 - Exploiting information learnt from large databases
Part 1 - Implicit template deformation: background & contributions

## Slide 19: Kidney segmentation in ultrasound images
No automatic method reported in the literature
Conventional B-Mode Ultrasound (US)
Contrast-Enhanced Ultrasound (CEUS)
Part 2/4 – Application to kidney segmentation in ultrasound images
Notes: CEUS: better visualization of lesions

## Slide 20: Detecting the kidney in CEUS images
The template is detected as a bright ellipsoid on a dark background Noise, neighboring structures  Robustness required
Hough transform [McLaughlin, 1998] High computational time in 3D
an implicit function parametrized by
a centre and a positive definite matrix
a weighting function that indicates the confidence in each pixel
Robust ellipsoid estimation
Part 2/4 – Application to kidney segmentation in ultrasound images

## Slide 21: A variational approach for ellipsoid estimation
Data term
Pixels with high intensity should be included.
Each contribution is weighted by .
Regularization
Penalizes the ellipsoid’s volume
log  statistical interpretation
Normalization factor
Part 2/4 – Application to kidney segmentation in ultrasound images

## Slide 22: Algorithm for robust ellipsoid estimation
repeat
estimation of ellipsoid with weighted barycenter / covariance matrix
estimation of confidence weights based on the current ellipsoid estimate
until convergence
Synthetic image
1st iteration
Evolution
Final result
Closed-form solutions  Simple alternate optimization
Part 2/4 – Application to kidney segmentation in ultrasound images

## Slide 23: Choosing the image-based error as the Laplacian
Minimize the image gradient flux
through the segmentation boundary
(Green-Ostrogradski)
Part 2/4 – Application to kidney segmentation in ultrasound images

## Slide 24: Results of kidney segmentation in CEUS images
Ellipsoid vs Ground truth
Segmentation vs Ground truth
Validation
64 images from 35 patients
Both healthy subjects and patients with pathologies
Computational time:
5 sec / image
Median 0.69
Median 0.76
(Very few user interactions are enough to yield Dice coefficients > 0.9)
Part 2/4 – Application to kidney segmentation in ultrasound images

## Slide 25: What about conventional US images ?
Contrast-enhanced ultrasound
Conventional ultrasound
Need to transform the US image in a kidney probability map
Part 2/4 – Application to kidney segmentation in ultrasound images

## Slide 26: Learning with auto-context Random Forests
Improved probability
Each pixel is classified kidney/background by random forest classification [Breiman, 2001; Criminisi et al., 2011]: fast, non linear
Image features: intensity and Laplacian in the voxel and in its neighborhood
Iterative estimation (auto-context) to bring spatial consistency and structural information, similarly to [Tu et al., 2010]
Original
image
First estimate of probability
Part 2/4 – Application to kidney segmentation in ultrasound images

## Slide 27: Results of kidney segmentation in US images
Validation
64 images from 35 patients
Both healthy subjects and patients with pathologies
Computational time:
15 sec / image
Median 0.63
Median 0.73
Ellipsoid vs Segmentation vs Ground truth
Part 2/4 – Application to kidney segmentation in ultrasound images

## Slide 28: Contributions (Part 2)
R. Cuingnet, R. Prevost, B. Mory, D. Lesage, L.D. Cohen, R. Ardon."Automatic Detection and Segmentation of Kidneys in 3D CT Images Using Random Forests", MICCAI 2012
R. Prevost, B. Mory, J.-M. Correas, L.D. Cohen, R. Ardon. "Kidney detection and real-time segmentation in 3D contrast-enhanced ultrasound images", ISBI 2012
R. Prevost, R. Cuingnet, B. Mory, J.-M. Correas, L.D. Cohen, R. Ardon. "Joint Co-Segmentation and Registration of 3D Ultrasound Images“, IPMI 2013
Showed the potential of implicit template deformation in challenging clinical problems (validation on significant databases)
Introduced a novel variational method for robust ellipsoid estimation
Improved probability maps using auto-context random forests
Part 2/4 – Application to kidney segmentation in ultrasound images

## Slide 29: Part 3 Exploiting different images of the patient A joint co-segmentation and registration approach
Part 1 - Implicit template deformation: background & contributions
Part 2 - Applying the algorithm to challenging clinical problems
Part 4 - Exploiting information learnt from large databases

## Slide 30: Using simultaneously US and CEUS
- Both images must be aligned if used simultaneously  Registration helps co-segmentation
- Iconic registration difficult Feature-based registration only possible with kidney boundary
 Co-segmentation helps registration
Joint co-segmentation and registration
CEUS image
US image
Part 3/4 – Using multiple images via joint co-segmentation and registration

## Slide 31: Joint Co-Segmentation and Registration
CEUS image
US image
Joint Co-Segmentation and Registration
Part 3/4 – Using multiple images via joint co-segmentation and registration

## Slide 32: Generic Framework for Co-Segmentation
Consider any variational algorithm that minimizes the energy
We can easily extend it to several images (if they are registered)
The object’s movement between the two images is modeled by
a global transformation as in [Yezzi et al., 2003]
Part 3/4 – Using multiple images via joint co-segmentation and registration

## Slide 33: Generic Framework for Co-Segmentation
Assumption (holds for kidney) The organ may move and rotate but not deform.
We constrain to be a rigid transformation.
Co-Segmentation
Registration
Part 3/4 – Using multiple images via joint co-segmentation and registration

## Slide 34: Application to two algorithms
The generic approach for co-segmentation can be applied to both
the robust ellipsoid detection and implicit template deformation
initialization
Part 3/4 – Using multiple images via joint co-segmentation and registration

## Slide 35: Example of kidney co-segmentation in US/CEUS
Independent segmentation vs Co-segmentation vs Ground truth
Part 3/4 – Using multiple images via joint co-segmentation and registration
Notes: Shadow very frequent artifact

## Slide 36: Quantitative validation (Kidney in US/CEUS)
Segmentation improvement statistically significant
p-value < 1e-4 for the Wilcoxon signed-rank test
Error on the measured renal volume divided by 2
Validation
64 pair of images from 35 patients
Two-fold cross validation
Computational time:
20 sec / pair of images
Part 3/4 – Using multiple images via joint co-segmentation and registration

## Slide 37: Another clinical application for co-segmentation
Perfusion CT
Acquisition of a temporal series of volumes (3D+T)
Injection of a contrast agent
Study of contrast diffusion in the image
At every pixel, the intensity is studied as a function of time
Problem
The volumes are not aligned (breathing, patients movements)
Useful for diagnosis
Part 3/4 – Using multiple images via joint co-segmentation and registration

## Slide 38: Sequence stabilization via co-segmentation
Approach Register the images in a region of interest around the kidney based on its co-segmentation
Co-segmentation and registration of any number of images
Part 3/4 – Using multiple images via joint co-segmentation and registration
Notes: Whole kidney does not fit in a single frame

## Slide 39: Kidney co-segmentation in a sequence
Part 3/4 – Using multiple images via joint co-segmentation and registration

## Slide 40: A sequence before and after stabilization
Original sequence
(before stabilization)
Processed sequence
(after stabilization)
Part 3/4 – Using multiple images via joint co-segmentation and registration

## Slide 41: Quantitative validation (Kidney in Perfusion CT)
Validation
15 sequences from 6 patients
66 volumes per sequence
Computational time: 30 sec / sequence
Comparison with state-of-the-art [Romain et al., 2012]
Part 3/4 – Using multiple images via joint co-segmentation and registration

## Slide 42: Improvements in terms of parametric images
Parametric image
with block-matching
stabilization
Parametric image
with proposed stabilization
Better registrations yield better estimation of parameters
Part 3/4 – Using multiple images via joint co-segmentation and registration
Notes: Much more visible, parameter estimation more reliable, therefore make the correct diagnosis

## Slide 43: Contributions (Part 3)
R. Prevost, R. Cuingnet, B. Mory, J.-M. Correas, L.D. Cohen, R. Ardon. "Joint Co-Segmentation and Registration of 3D Ultrasound Images“, IPMI 2013
R. Prevost, B. Romain, B. Mory, O. Lucidarme, R. Cuingnet, L.D. Cohen, R. Ardon. "Registration of 3D+T Abdominal Perfusion CT Images via Co-Segmentation “, MICCAI 2013
Two industrial patents filed
We described a generic approach for joint co-segmentation and registration
Application to two different algorithms: robust ellipsoid detection and implicit template deformation
Extension to any number of images for organ tracking and sequence stabilization
Improvements over state-of-the-art in the two studied applications
Part 3/4 – Using multiple images via joint co-segmentation and registration

## Slide 44: Part 4 Exploiting shape information from databases Learning the best template and shape variability
Part 1 - Implicit template deformation: background & contributions
Part 2 - Applying the algorithm to challenging clinical problems
Part 3 - Exploiting different images of the patient

## Slide 45: Improving segmentation via shape learning
Find the best implicit template to be deformed
 Dedicated estimation of a mean model [Joshi et al., 2004]
Learn the shape variability
 Main modes of variation around the mean
Exploit this information for future segmentations while maintaining both efficiency and topology preservation
1
2
3
Stats on
implicit
functions [Tsai et al.,
2003]
Database of pre-segmented shapes
Part 4/4 – Learning information from large databases
Notes: Tsai: Stat analysis on implicit functions (mean and PCA modes)

## Slide 46: A tailored definition of the mean shape
Implicit functions with a fixed topology, given by a prior template
“Distance” between shapes
Shape representation
Energy of implicit template deformation (only a pre-metric)
Template
Data term
Generic definition of a mean [Frechet et al., 1948]
Part 4/4 – Learning information from large databases

## Slide 47: Learning via co-segmentation
Pre-segmented
shapes
3 kinds of variables
to optimize
Poses
Common deformation
Residual deformations
Part 4/4 – Learning information from large databases

## Slide 48: Learning further information
PCA on the residual deformations
We know how to compute a mean.
But what about the variability around this mean ?
Mean
Modes
Space of main deformations [Rueckert et al.,
2001]
Part 4/4 – Learning information from large databases

## Slide 49: Exploiting the shape variability via PCA modes
can still be enforced to be diffeomorphic
is not always a diffeomorphism
Only the deformations that cannot be explained by the first modes are penalized
Incorporate the combination of modes
within the regularization
High number of modes needed to be precise
User interactions more difficult
Part 4/4 – Learning information from large databases

## Slide 50: A generalized segmentation algorithm
Alternate minimization
Negligible overhead
Closed-form solution
Same as standard algorithm (via gradient descent)
No additional cost
Composition update to guarantee diffeomorphism [Saddi et al., 2007]
Part 4/4 – Learning information from large databases

## Slide 51: Evaluation of myocardium segmentation in MR
Database 245 short-axis 2D MRI from 61 patients
2-fold cross validation Training: 30 patients Test: 31 patients
Statistically significant improvements
Dice coefficient
Part 4/4 – Learning information from large databases

## Slide 52: Some visual results
No modes
Low constraint
No modes High constraint
With modes
(proposed)
Case
#1
Case
#2
Case
#3
Segmentation result vs Ground truth
Deformation of
Part 4/4 – Learning information from large databases

## Slide 53: Contributions (Part 4)
R. Prevost, B. Mory, R. Cuingnet, L.D. Cohen, R. Ardon. "Incorporating Shape Variability in Image Segmentation by Implicit Template Deformation“, MICCAI 2013
We presented a method to learn and exploit shape variability in the implicit template deformation framework
Learning: automatic (no landmarks) and unbiased (w.r.t. initial template or global pre-alignment)
Segmentation: efficient (a few seconds in 3D), robust and preserves topology
Moving to 3D applications, e.g. liver
Part 4/4 – Learning information from large databases

## Slide 54: A brief look at tagged templates Learning local appearance from databases

## Slide 55: Myocardium segmentation in 2D US images
Myocardium appearance cannot be defined globally...
… but it is consistent across subjects.
This information should be added to the model
Part 4/4 – Learning information from large databases

## Slide 56: Tagged templates
Generalization of the image-based energy with tagged template
Tag function (defined within the template)
Part 4/4 – Learning information from large databases
+1
+1
-1

## Slide 57: Learning the tag function
Learnt tag
Database of registered images
Part 4/4 – Learning information from large databases

## Slide 58: Evaluation of myocardium segmentation in US
Segmentation (no tags) vs Ground truth
Segmentation with tagged implicit template deformation
vs Ground truth
 | Dice coefficient | Mean distance (mm) | Maximum Distance (mm)
Segmentation with standard template | 0,59 | 5,10 | 16,65
Segmentation with tagged template | 0,77 | 3,15 | 9,76
Validation
42 images from 14 patients
Leave-one-out validation
Ground truth provided by a cardiologist
Segmentation (tags) vs Ground truth
Part 4/4 – Learning information from large databases

## Slide 59: General conclusion
We applied implicit template deformation in challenging clinical applications (validation on significant databases)
We presented an approach to use multiple images simultaneously within this framework (and other ones)
We turned the initial algorithm into a complete and powerful framework that is
  able to leverage learnt information on shape or appearance
  both efficient and topology-preserving
All contributions are compatible and complementary

## Slide 60: Perspectives
Tagged co-segmentation
Use tags to define what parts of the model should be using which image
Towards multi-organ segmentation
Implicit functions can represent multiple objects; with tagged models we can also use different image features
Lumen
Vessel wall
Aneurysm in US / CEUS images

## Slide 61: Thank you for your attention !